## Slide 1: ROP image analysis
Last update: 2/28/16

## Slide 2: Data available
Classification
  Users classified images as normal, pre-plus, plus
  ~20% of the images were repeat (for test-retest)
Pairwise comparison
  Users performed pairwise comparisons for the same sets of images as the classification
Reference standard diagnosis
Clinical diagnosis

## Slide 3: Classification
Set of 34
Set of 100 (1)
Set of 25 (subset of set of 100)
Set of 10 (ignored for now)

## Slide 4: Files available
34Images.txt
100Images.txt
25Images.txt
results_icsfy_set34_rev3_2015_12_6
results_icsfy_icsfy_100_2015_12_6
results_icsfy_select25_rev1_2015_12_6
diagnoses for image sets (so 9-30-15)

## Slide 5: Set of 34
34 images previously used of inter-rater agreement studies
Typically more severe cases
Mostly pre-plus or plus
Have readings from (2015)
  Mariana, Phil, Jim, Pete, Kim, Jason, Paul, testuser Karyn, Mike, Nina, testuser4, Susan, MikeR, Kelly, mikeS (ranked by average score)
Pretty low inter-rater agreement

## Slide 6: Ratings for 34 images (2015)
Highly variable
  Systematic bias

## Slide 7: Ratings for 35 images (2007)

## Slide 8: Bias/accuracy
Mostly, errors (compared to RSD) are systematic
  Typically off by 1 step
Accuracy varies from 29% to 91%
Expert | Average Rtg | accuracy | bias
maria | 2.94 | 0.65 | 0.38
phil | 2.88 | 0.71 | 0.32
jim | 2.82 | 0.68 | 0.26
pete | 2.71 | 0.79 | 0.15
paul | 2.71 | 0.79 | 0.15
kim | 2.71 | 0.85 | 0.15
jason | 2.68 | 0.82 | 0.12
mike | 2.59 | 0.91 | 0.03
karyn | 2.56 | 0.76 | 0.00
testuser4 | 2.44 | 0.76 | -0.12
nina | 2.44 | 0.71 | -0.12
susan | 2.44 | 0.82 | -0.12
mikeR | 2.15 | 0.62 | -0.41
kelly | 1.94 | 0.38 | -0.62
mikeS | 1.76 | 0.29 | -0.79

## Slide 9: ANOVA
Predict score as a function of image and user
Highly significant for both
Chart: User predictions
| 2.676470588235294 | 2.823529411764706 | 2.558823529411764 | 1.941176470588235 | 2.705882352941176 | 2.941176470588235 | 2.588235294117647 | 2.147058823529412 | 1.764705882352941 | 2.441176470588235 | 2.705882352941176 | 2.705882352941176 | 2.882352941176471 | 2.441176470588235 | 2.441176470588235
predicted | 2.559 | 2.7061 | 2.4414 | 1.8237 | 2.5884 | 2.8237 | 2.4708 | 2.0296 | 1.6472 | 2.3237 | 2.5884 | 2.5884 | 2.7649 | 2.3237 | 2.3237
Chart: Image prediction
| 2.4 | 1.533333333333333 | 3.0 | 2.4 | 2.733333333333333 | 2.266666666666667 | 2.933333333333333 | 2.266666666666667 | 2.666666666666666 | 2.4 | 2.533333333333333 | 1.933333333333333 | 2.866666666666667 | 2.066666666666667 | 2.8 | 2.866666666666667 | 1.733333333333333 | 2.333333333333333 | 2.8 | 1.8 | 2.933333333333333 | 2.933333333333333 | 2.466666666666667 | 2.933333333333333 | 2.0 | 2.466666666666667 | 2.866666666666667 | 2.933333333333333 | 2.533333333333333 | 2.6 | 2.933333333333333 | 2.466666666666667 | 3.0 | 2.2
predicted | 2.559 | 1.6923 | 3.159 | 2.559 | 2.8923 | 2.4257 | 3.0923 | 2.4257 | 2.8257 | 2.559 | 2.6923 | 2.0923 | 3.0257 | 2.2257 | 2.959 | 3.0257 | 1.8923 | 2.4923 | 2.959 | 1.959 | 3.0923 | 3.0923 | 2.6257 | 3.0923 | 2.159 | 2.6257 | 3.0257 | 3.0923 | 2.6923 | 2.759 | 3.0923 | 2.6257 | 3.159 | 2.359

## Slide 10: Two-way Anova +Tukey HSD
Score highly predicted by image and rater
  Adjusted R-squared: 0.6327 , p-value: < 2.2e-16

## Slide 11: Comparison of results between 2007 and 2015 studies
Highly correlated, suggesting similar perception of severity
Chart: Comparison of Ranks
| 1.0 | 4.0 | 12.0 | 11.0 | 10.0 | 6.0 | 2.0 | 3.0 | 5.0 | 7.0 | 8.0 | 13.0 | 9.0 | 14.0 | 15.0 | 23.0 | 19.0 | 16.0 | 21.0 | 18.0 | 28.0 | 17.0 | 25.0 | 27.0 | 24.0 | 22.0 | 26.0 | 31.0 | 32.0 | 30.0 | 20.0 | 29.0 | 33.0 | 34.0
newRank | 1 | 2 | 7 | 8 | 6 | 5 | 4 | 3 | 9 | 11 | 10 | 13 | 12 | 14 | 15 | 16 | 18 | 17 | 20 | 19 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34

## Slide 12: Comparison of results between 2007 and 2015 studies
Correlated, with offset
Chart: Comparison of average image score
| 3.0 | 2.954545454545455 | 2.6 | 2.636363636363636 | 2.7 | 2.809523809523808 | 3.0 | 3.0 | 2.952380952380952 | 2.772727272727272 | 2.772727272727272 | 2.523809523809524 | 2.727272727272727 | 2.318181818181818 | 2.285714285714286 | 1.714285714285714 | 1.857142857142857 | 2.047619047619047 | 1.80952380952381 | 1.909090909090909 | 1.5 | 1.954545454545455 | 1.590909090909091 | 1.545454545454545 | 1.619047619047619 | 1.714285714285714 | 1.571428571428571 | 1.42857142857143 | 1.380952380952381 | 1.454545454545455 | 1.857142857142857 | 1.454545454545455 | 1.227272727272727 | 1.0
newAverage | 3 | 3 | 2.9333 | 2.9333 | 2.9333 | 2.9333 | 2.9333 | 2.9333 | 2.8667 | 2.8667 | 2.8667 | 2.8 | 2.8 | 2.7333 | 2.6667 | 2.6 | 2.5333 | 2.5333 | 2.4667 | 2.4667 | 2.4667 | 2.4 | 2.4 | 2.4 | 2.3333 | 2.2667 | 2.2667 | 2.2 | 2.0667 | 2 | 1.9333 | 1.8 | 1.7333 | 1.5333

## Slide 13: Observations
High variability among users
  Similar results compared to older study
  Ratings are generally more “plus” than first study
Accuracy compared to RSD varies from 29-91%
In general, bias is the issue not random errors
  Bias varies from +0.38 to -0.71
Generally repeatable results between studies few years apart
  Ranks are highly correlated
  Overall higher averages (more “plus”) now compared to previous study

## Slide 14: Hypothesis
There is a continuous scale of image severity that most experts can agree on
However, thresholds for separation between normal, pre-plus and plus are different between experts
This leads to an apparent systematic bias between experts
Proposal: finer severity scale

## Slide 15: Pairwise comparisons to assess image severity ranking
Experts were presented pairs of image and asked to assess which one was most severe
Pairwise comparisons were converted to rank
Better agreement (compared to 3 class classification) between experts in
  Which image is more severe
  Subsequent image rank

## Slide 16: Preliminary ranking results
Elo ranking system was used to convert pairwise results to ranks
Used in chess and other tournament setting
Considered all users to create overall image severity rank
These ranks correlate highly with ranks generated from classification results
Users are generally internally consistent

## Slide 17: Ranking vs. RSD
Relatively consistent
Chart: RSD vs. Elo rank
| 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0 | 24.0 | 25.0 | 26.0 | 27.0 | 28.0 | 29.0 | 30.0 | 31.0 | 32.0 | 33.0 | 34.0
RSD | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Chart: RSD vs. classification rank
| 34.0 | 29.0 | 31.0 | 33.0 | 32.0 | 21.0 | 25.0 | 22.0 | 30.0 | 23.0 | 26.0 | 19.0 | 16.0 | 20.0 | 28.0 | 27.0 | 17.0 | 18.0 | 24.0 | 13.0 | 10.0 | 15.0 | 14.0 | 8.0 | 7.0 | 9.0 | 6.0 | 5.0 | 3.0 | 1.0 | 11.0 | 4.0 | 12.0 | 2.0
RSD | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3

## Slide 18: Classification score vs. Elo rank
Well correlated
Chart: Average classification score vs. average comparison rank
| 1602.0 | 1763.0 | 1771.0 | 1780.0 | 1784.0 | 1865.0 | 1933.0 | 1940.0 | 1976.0 | 2017.0 | 2035.0 | 2043.0 | 2055.0 | 2057.0 | 2069.0 | 2103.0 | 2108.0 | 2145.0 | 2196.0 | 2285.0 | 2287.0 | 2388.0 | 2403.0 | 2431.0 | 2449.0 | 2486.0 | 2523.0 | 2556.0 | 2557.0 | 2573.0 | 2610.0 | 2637.0 | 2653.0 | 2720.0
newAverage | 1.5333 | 2.0667 | 1.9333 | 1.7333 | 1.8 | 2.4667 | 2.3333 | 2.4 | 2 | 2.4 | 2.2667 | 2.4667 | 2.6 | 2.4667 | 2.2 | 2.2667 | 2.5333 | 2.5333 | 2.4 | 2.8 | 2.8667 | 2.6667 | 2.7333 | 2.9333 | 2.9333 | 2.8667 | 2.9333 | 2.9333 | 2.9333 | 3 | 2.8667 | 2.9333 | 2.8 | 3

## Slide 19: Comparison rank vs. classification rank
Well correlated
Chart: Comparison Rank vs. classification rank
| 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0 | 24.0 | 25.0 | 26.0 | 27.0 | 28.0 | 29.0 | 30.0 | 31.0 | 32.0 | 33.0 | 34.0
newRank | 34 | 29 | 31 | 33 | 32 | 21 | 25 | 22 | 30 | 23 | 26 | 19 | 16 | 20 | 28 | 27 | 17 | 18 | 24 | 13 | 10 | 15 | 14 | 8 | 7 | 9 | 6 | 5 | 3 | 1 | 11 | 4 | 12 | 2

## Slide 20: Consistency of ranks from pairwise comparisons
Maybe (??) more consistent
Chart: mike v. paul
| 5.0 | 15.0 | 30.0 | 6.0 | 1.0 | 2.0 | 9.0 | 31.0 | 7.0 | 27.0 | 28.0 | 21.0 | 3.0 | 18.0 | 23.0 | 12.0 | 10.0 | 8.0 | 29.0 | 17.0 | 32.0 | 26.0 | 33.0 | 19.0 | 25.0 | 14.0 | 20.0 | 13.0 | 11.0 | 34.0 | 16.0 | 24.0 | 4.0 | 22.0
mikeRanking | 4 | 27 | 29 | 9 | 1 | 6 | 11 | 34 | 2 | 23 | 32 | 22 | 5 | 16 | 20 | 10 | 14 | 12 | 24 | 17 | 33 | 21 | 31 | 19 | 28 | 15 | 18 | 3 | 8 | 30 | 13 | 25 | 7 | 26
Chart: mike vs. mikeS
| 4.0 | 27.0 | 29.0 | 9.0 | 1.0 | 6.0 | 11.0 | 34.0 | 2.0 | 23.0 | 32.0 | 22.0 | 5.0 | 16.0 | 20.0 | 10.0 | 14.0 | 12.0 | 24.0 | 17.0 | 33.0 | 21.0 | 31.0 | 19.0 | 28.0 | 15.0 | 18.0 | 3.0 | 8.0 | 30.0 | 13.0 | 25.0 | 7.0 | 26.0
mikeSRanking | 3 | 30 | 15 | 6 | 1 | 5 | 12 | 34 | 2 | 23 | 20 | 26 | 8 | 21 | 32 | 9 | 10 | 14 | 27 | 24 | 33 | 17 | 29 | 22 | 28 | 13 | 19 | 4 | 11 | 25 | 16 | 18 | 7 | 31
91% vs 29% accuracy compared to RSD

## Slide 21: Reason for optimism?
Almost either ends of spectrum
Chart: jim v. mikeS
| 15.0 | 17.0 | 20.0 | 2.0 | 10.0 | 11.0 | 5.0 | 32.0 | 7.0 | 24.0 | 26.0 | 19.0 | 1.0 | 21.0 | 29.0 | 3.0 | 13.0 | 9.0 | 30.0 | 34.0 | 31.0 | 27.0 | 33.0 | 23.0 | 25.0 | 6.0 | 18.0 | 8.0 | 4.0 | 28.0 | 16.0 | 22.0 | 14.0 | 12.0
mikeSRanking | 3 | 30 | 15 | 6 | 1 | 5 | 12 | 34 | 2 | 23 | 20 | 26 | 8 | 21 | 32 | 9 | 10 | 14 | 27 | 24 | 33 | 17 | 29 | 22 | 28 | 13 | 19 | 4 | 11 | 25 | 16 | 18 | 7 | 31
Chart: kelly vs. jim
| 15.0 | 17.0 | 20.0 | 2.0 | 10.0 | 11.0 | 5.0 | 32.0 | 7.0 | 24.0 | 26.0 | 19.0 | 1.0 | 21.0 | 29.0 | 3.0 | 13.0 | 9.0 | 30.0 | 34.0 | 31.0 | 27.0 | 33.0 | 23.0 | 25.0 | 6.0 | 18.0 | 8.0 | 4.0 | 28.0 | 16.0 | 22.0 | 14.0 | 12.0
kellyRanking | 11 | 26 | 31 | 8 | 2 | 12 | 9 | 32 | 3 | 18 | 24 | 15 | 1 | 22 | 28 | 5 | 20 | 4 | 27 | 25 | 29 | 30 | 34 | 19 | 17 | 10 | 16 | 7 | 6 | 33 | 13 | 21 | 14 | 23

## Slide 22: Or not…
Some people see the world differently!
Chart: mike vs. mariana
| 18.0 | 19.0 | 21.0 | 2.0 | 10.0 | 9.0 | 3.0 | 34.0 | 15.0 | 29.0 | 27.0 | 7.0 | 13.0 | 28.0 | 31.0 | 4.0 | 11.0 | 25.0 | 30.0 | 16.0 | 6.0 | 32.0 | 17.0 | 26.0 | 24.0 | 23.0 | 20.0 | 12.0 | 5.0 | 14.0 | 22.0 | 33.0 | 8.0 | 1.0
mikeRanking | 4 | 27 | 29 | 9 | 1 | 6 | 11 | 34 | 2 | 23 | 32 | 22 | 5 | 16 | 20 | 10 | 14 | 12 | 24 | 17 | 33 | 21 | 31 | 19 | 28 | 15 | 18 | 3 | 8 | 30 | 13 | 25 | 7 | 26

## Slide 23: Correlation between ranks
In general, pretty ranks are pretty well correlated between users
  Maria Ana
  Test user4 (wei?)

## Slide 24: Agreement vs. rank difference
Lower agreement when closer together
Chart: 

## Slide 25: Set of 100 compare
Similar analysis and results compared to set 34
  Good agreement that Most images are normal

## Slide 26: ANOVA model for set 100
Multiple R-squared: 0.83, Adjusted R-squared: 0.8169
F-statistic: 63.67 on 111 and 1448 DF, p-value: < 2.2e-16

## Slide 27: Comparing users (set 34, set 100)
Users are roughly in the same order between the two exercises
set100_Ranking | set34_ranking
maria | maria
jim | phil
phil | jim
kim | kim
pete | pete
jason | paul
paul | jason
mike | mike
karyn | karyn
susan | susan
kelly | mikeR
mikeR | kelly
mikeS | mikeS

## Slide 28: Rank agreement between users
Hard to separate “normal” images
55 images were “normal” by at least 11/12 raters

## Slide 29: Ranking vs. plusness (overall)

## Slide 30: Ranking vs. plusness (user)

## Slide 31: Ranking vs. grade (all users)

## Slide 32: Ranking vs. grade (all users)

## Slide 33: Scatter Plot for user ranks

## Slide 34: Summary results
High variability among experts in categorization is primarily bias not random variation
  Ranking of users is consistent across datasets
  Two way ANOVA model models bias
Severity of plus disease appears to be a spectrum, not categorical
  Image classification
    Set 100, Set34, Set 34 (old) –number of users in each category seems to vary continuously
    Rank of images in old set 34 and new 34 correlate highly despite different users

## Slide 35: Summary results
Pairwise comparison to rank images has less variability than 3 class categorization
  Ranks of users on either end of spectrum are highly correlated

## Slide 36: Still to add to ppt
Analysis of set 100 classification
  ANOVA, bias by user
Compare bias by user between 34 and 100
  Need weighting per distribution?
Generate set 25 for all users
Correlation heat map of ranks for
  Set 34
  Set 100
  Set 25
Per task error rate vs. difference in ranks
User rank to user class